商機大市集分類廣告－產品資料

	＊產品編號
	SUMITUBE F32（必填）

	製造商
	住友電工

	品名
	熱收縮套管及含膠套管

	規格
	自1ψ-100ψ口徑

	認證
	●有  ○無

	售價
	●請詢價 ○NT$      ○RMB      ○US$      ○HK$      

	產品介紹
	   SUMITUBE F2(F32) is a flexible, flame   retardant, irradiated crosslinked, heat-
   shrinkable, modified polyolefin tubing    that is recognized by Underwriters 
   Laboratories(UL) under Subject 224,    rating voltage 600V, VW-1 at 125oC and
   by Canadian standards (CSA), rating    voltage 600V, OFT at 125oC. Shrink 
   temperature is 90oC.

   SUMITUBE F2(F32) represents the   excellent balance of properties for general
   purpose use such as wire marking,    insulation or jacketing of wire harnesses
   , and insulation  of wire terminals where   flame retardance or UL and CSA
   recognition should be needed

（限中文500字內）

	
	. 

Nominal size
As supplied (mm)
After shrinkage (mm)
Standard length (m)
Inside diameter
Wall thickness
(nominal)
Inside diameter
(max.)
Wall thickness
(min.)
Cut
Spool
1 x 0.2
1.4±0.2
0.2
0.5
0.33
1
200
1.5 x 0.2
2.0±0.2
0.2
0.75
0.36
1
200
2 x 0.2
2.5±0.2
0.2
1.0
0.44
1
200
2.5 x 0.25
3.0±0.2
0.25
1.25
0.44
1
200
3 x 0.25
3.5±0.3
0.25
1.5
0.44
1
200
3.5 x 0.25
4.0±0.3
0.25
1.75
0.44
1
200
4 x 0.25
4.5±0.3
0.25
2.0
0.44
1
200
5 x 0.25
5.4±0.3
0.25
2.5
0.56
1
100
6 x 0.25
6.4±0.4
0.25
3.0
0.56
1
100
7 x 0.25
7.4±0.4
0.25
3.5
0.56
1
50
8 x 0.25
8.4±0.4
0.25
4.0
0.56
1
50
9 x 0.25
9.4±0.4
0.25
4.5
0.56
1
50
10 x 0.25
10.4±0.4
0.25
5.0
0.56
1
50
11 x 0.25
11.4±0.4
0.25
5.5
0.56
1
50
12 x 0.25
12.4±0.4
0.25
6.0
0.56
1
50
13 x 0.3
13.5±0.4
0.3
6.5
0.69
1
50
14 x 0.3
14.5±0.4
0.3
7.0
0.69
1
50
15 x 0.3
15.5±0.5
0.3
7.5
0.69
1
50
16 x 0.3
16.8±0.5
0.3
8.0
0.69
1
50
18 x 0.35
18.7±0.5
0.35
9.0
0.77
1
50
20 x 0.35
21.2±0.6
0.35
10.0
0.77
1
50
22 x 0.4
23.2±0.6
0.4
11.0
0.77
1
50
25 x 0.4
26.1±0.8
0.4
12.5
0.87
1
50
28 x 0.4
29.0±1.0
0.4
14.0
0.87
1
50
30 x 0.4 
31.0±1.0
0.4
15.0
0.87
1
50


	產品大圖
	[image: image1.jpg]


（580×420pixels）

	產品小圖
	（200×150 pixels）


